## Slide 1
Signalling Bus
Valve driver board
Touch screen (I2C ?)
Controller board
Valve/fan driver board(s)
ESP32
Valve driver (x4) (UART)
5V regulator
3.3V regulator
12V or 24V
Medical-grade Buzzer (GPIO)
Snooze button
(GPIO)
Power button
Sensor board(s)
5V
5V
O2 sensor
(UART)
Pressure sensor 1 (I2C)
Pressure sensor 2
(SPI)
Temp/humidity sensor (I2C)
Jumpers
- Board ID
- Power on